## Slide 1
Chart: 
| 1998-99 | 1999-00 | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
NEM intermittent capacity (Megawatts of wind and solar) | 45877 | 46156 | 46610 | 44626 | 44569 | 44440 | 43213
NEM firm capacity (Megawatts) | 33350 | 34197 | 35246 | 36072 | 36946 | 37085 | 39504 | 40412 | 41659 | 41436 | 43728 | 44357 | 45877 | 44033.35 | 43836.65 | 41815.97 | 40691.769 | 40500.3 | 39132
NEM demand (Megawatts) | 25713 | 26977 | 27502 | 27094 | 28480 | 29791 | 31244 | 31789 | 32883 | 33470 | 35833 | 34397 | 35662 | 31797 | 32538 | 33610 | 30201 | 32859 | 34823
Peak demand
Built capacity
Intermittent component
Notes: After five years of excess capacity, supply is now tightening
Units: Gigawatts
This figure compares total generation capacity with NEM peak demand since the NEM began
Sources: AER wholesale statistics as at end 2016-17
https://www.aer.gov.au/wholesale-markets/wholesale-statistics/generation-capacity-and-peak-demand
AEMO Generation information 2012-2017 for intermittent component (NOTE: info not available prior to 2012)

## Slide 2
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45
QLD | 60 | 49 | 45 | 38 | 41 | 31 | 31 | 31 | 57 | 58 | 36 | 37 | 34 | 30 | 70 | 61 | 61 | 64 | 103
NSW | 25 | 30 | 41 | 38 | 37 | 37 | 46 | 43 | 67 | 44 | 43 | 52 | 43 | 31 | 56 | 53 | 36 | 54 | 88
VIC | 27 | 28 | 49 | 33 | 30 | 27 | 29 | 36 | 61 | 51 | 49 | 42 | 29 | 28 | 61 | 54 | 32 | 50 | 70
SA | 54 | 69 | 67 | 34 | 33 | 39 | 39 | 44 | 59 | 101 | 69 | 83 | 42 | 32 | 74 | 68 | 42 | 67 | 123
Label line | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
QLD-exp | 103 | 85.125 | 70.2 | 64.05
NSW-exp | 88 | 91.6 | 77.575 | 72.325
VIC-exp | 70 | 113.625 | 88.35 | 78.9
SA-exp | 123 | 131.55 | 109.2 | 93.75
Column1 | 130 | 130 | 130 | 130 | 130 | 130
Notes: Figure: Wholesale electricity prices have increased and are expected to remain above historic levels
Annual volume-weighted average wholesale prices since the NEM began + futures prices to 2019/20
Units: $/MWh
Notes: prices 4 years out tend to be lower because there is less demand – most hedging occurs up to 2 years out
Source: AER wholesale statistics
https://www.aer.gov.au/wholesale-markets/wholesale-statistics/annual-volume-weighted-average-spot-prices
AER wholesale statistics – average quarterly base futures prices to 2020, as at end of Q2 2017
https://www.aer.gov.au/wholesale-markets/wholesale-statistics/quarterly-base-futures-prices

## Slide 3
A dependable supply of electricity
Reliability
Security
Supply availability
Resource adequacy
Sufficient and appropriate generation is built in time to meet future demand
Existing generation produces electricity when needed
The system is in
balance even when something breaks
Report scope

## Slide 4
Chart: 
| NSW - proposed | VIC - proposed | QLD - proposed | SA - proposed | Column1 | NSW - committed | VIC - committed | QLD - committed | SA - committed
Wind | 4465.5 | 3364.2 | 809 | 2966.4 | 172.5 | 125.8 | 180.5 | 211.4
Solar | 837.2 | 1079.8 | 3762.6 | 1295 | 144.9 | 50 | 277.5 | 220
Gas | 515 | 600 | 2045 | 780 | 0 | 0 | 0 | 0
Coal | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0
Gas
Wind
Solar
SA
QLD
NSW
VIC
SA
QLD
NSW
VIC
Proposed
Committed
Coal
Notes: Figure: Proposed and committed projects, by fuel type and location
Units: ‘000 MW (Gigawatts of potential new generation by fuel type and region)
Notes: Potential new generation projects as at June 2017. Proposed projects are those that have been publicly announced and may have completed initial feasibility studies, but have not yet received a Final Investment Decision (FID). Projects at the Committed stage of development have received a FID and have either started, or are expected to start construction.
Rooftop solar PV installations not included. Hydro and biomass not included (only a very small share of proposed projects).
Source: Investment pipeline as at 5 June 2017, AEMO Generation Information: http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information

## Slide 5
$40
$20
$30
$35
$50
$75
Notes: Hypothetical example of the merit order / bid stack to meet demand of 1000 MW

## Slide 6
Chart: 
| 1 | 2 | 3 | 4 | 5
Max % hedged | 1 | 0.7 | 0.3 | 0.1 | 0.05
Min % hedged | 0.9 | 0.6 | 0.2 | 0.05 | 0
Years forward
Min – Max
Notes: Figure: A typical hedge profile
Source: reproduced from MEI 2016 - Submission to the The Energy Value of Distributed Generation Distributed Generation Inquiry Stage 1 Draft Report. http://www.esc.vic.gov.au/wp-content/uploads/2016/06/Melbourne-Energy-Institute.pdf

## Slide 7
Chart: 
| 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16
QLD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NSW | 0 | 0 | 0 | 5e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0032 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Standard | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002
SA
VIC
Reliability standard
Notes: Figure: Only two breaches in past years
Units: Unsupplied energy (% of regional native consumption)
Notes: Actual data not yet published for 2016-17.
Source: AEMC Annual market performance reports – 2016 + historical data in the 2015 and 2013 reports

## Slide 8
Chart: 
| 1999-2000 | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Coal | 300 | 571 | 840 | 870 | 0 | 0 | 0 | 724 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0
Gas | 571 | 489 | 1035 | 0 | 0 | 311 | 326 | 522 | 0 | 2030.6 | 1160 | 152 | 518 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 537 | 159 | 194 | 490 | 164 | 370.5 | 97 | 608 | 567 | 267 | 67 | 260
Other | 0 | 38 | 0 | 0 | 0 | 50 | 170 | 0 | 0 | 0 | 257 | 53 | 0 | 42 | 45 | 185 | 109 | 77
Wind
Coal
Gas
Other
Chart: 
| 1999-2000 | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Coal | 0 | 0 | -90 | 0 | 0 | 0 | 0 | -400 | 0 | 0 | -240 | -120 | -120 | -780 | 0 | -1349 | -936 | -1630
Gas | 0 | 0 | 0 | -175 | -30 | 0 | 0 | 0 | 0 | -240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additions
Retirements
Notes: Source: AER provided data up to 2015-16; 2016-17 data comes from AEMO generation information
Note: Retirements exclude mothballed plant

## Slide 9
Price
Time
LRMC
SRMC
Intermittent renewables depress prices when available
Normal volatility
Other generators increase prices when intermittent renewables are unavailable

## Slide 10
Chart: 
| 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
NSW | 4 | 0 | 1 | 0 | 1 | 1 | 0
QLD | 33 | 17 | 32 | 2 | 15 | 1 | 2
SA | 177 | 120 | 40 | 18 | 154 | 288 | 298
VIC | 14 | 14 | 1 | 6 | 28 | 72 | 118
Chart: 
| 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
NSW | 39 | 1 | 2 | 7 | 1 | 10 | 39
QLD | 37 | 22 | 168 | 59 | 106 | 88 | 176
SA | 22 | 12 | 88 | 74 | 49 | 185 | 410
VIC | 12 | 0 | 30 | 26 | 1 | 16 | 18
SA
QLD
NSW
VIC
Below $0
Above $300
SA
QLD
NSW
VIC
Notes: Frequency of prices below $0 or above $300 by financial year
Kael’s analysis in R (replicated by Kate)

## Slide 11
Chart: 
QLD min area | 1
QLD max area | 1
NSW min area | 1
NSW max area | 1
VIC min area | 1
VIC max area | 1
SA min area | 1
SA max area | 1
QLD | 1.0559 | 1.2955 | 0.9375 | 2.3017 | 1.0251 | 1.7202 | 1.0268 | 0.89751 | 1.4718 | 2.6276 | 2.0275 | 0.61812
NSW | 1.4654 | 1.0215 | 1.0807 | 1.6285 | 1.2674 | 0.74121 | 1.0698 | 2.5255 | 1.2646 | 1.3716 | 1.2233 | 0.55797
VIC | 1.0163 | 0.98592 | 0.79051 | 1.4865 | 2.6376 | 0.91603 | 1.1591 | 0.86717 | 1.0188 | 1.0331 | 1.1627 | 0.24612
SA | 0.85271 | 0.70866 | 0.46875 | 0.97902 | 0.90909 | 0.68966 | 1.4838 | 1.7772 | 0.23484 | 0.41753 | 0.44678 | 0.3014
Notes: Figure: Trading activity has typically been lower in South Australia
Units: Volume of electricity traded by region as a share of regional consumption
Source: Grattan analysis of AFMA 2015 Data

## Slide 12
Chart: 
| 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15
% megawatt hours under contracts of one year or less | 55.4 | 94.1 | 55.8 | 71.5 | 95.4
Notes: Figure: % megawatt hours under contracts of 1 year or less
Source: AFMA 2015 data

## Slide 13
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
QLD-Max | 4 | 3 | 9 | 7 | 10 | 10 | 10 | 10
NSW-Max | 7 | 8 | 10 | 10 | 10 | 8 | 10 | 10
VIC-Max | 6 | 4 | 7 | 10 | 10 | 10 | 2
SA-Max | 6 | 4 | 8 | 10 | 10 | 5 | 2
Label line | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
VIC-caveat | 2 | 1
SA-caveat | 2 | 1
Notes: Figure: Resource adequacy projections over time
Units: Number of years until first identified reserve shortfall
Notes: ESOO projections look up to 10 years out. The Victorian and South Australian resource adequacy projection for 2016 was impacted by the announcement of Hazelwood’s retirement
Source: Grattan analysis of AEMO Electricity Statement of Opportunities (ESOO) reports 2010-2016

## Slide 14
Policy outcomes | Reliability mechanisms |  |  | 
 | Energy-only market | Day-ahead market | Strategic reserves | Capacity market
Supply available | ✓ | ✓ | ✗ | ✓
Back-up available | - | ? | ✓ | -
Sufficient generation built | ? | ? | ✗ | ✓
Cost to consumers | $ | $$ | $$ | $$$
Flexibility through the transition | ✓ | ✓ | ? | ?
Environmental performance | Depends on design |  |  | 
Notes: Illustrative only

## Slide 15
Chart: 
| a | b | c | d | e | f | g | a | b | c | d | e | f | g | a | b | c | d | e | f | g
Energy | 33.65 | 40.6425 | 39.53 | 50.55 | 53.14 | 66.25 | 61.3785 | 22.94 | 26.7736 | 27.49 | 35.23 | 36.16 | 46.52 | 40.58 | 21.94 | 24.62 | 26.56 | 31.72 | 29.23 | 31.6 | 30.06
Ancillary Services | 0.8 | 2.2637 | 0.52 | 1.65 | 2.83 | 3.23 | 0.31773 | 0.54 | 1.9333 | 0.29 | 1.58 | 1.31 | 1.58 | 1.455 | 0.53 | 1.77 | 0.28 | 1.79 | 0.89 | 1.63 | 1.07
Capacity | 0 | 0 | 0.56 | 0 | 9.21 | 8.36 | 11.4637 | 0 | 0 | 1.1 | 0 | 11.25 | 8.67 | 17.74 | 0 | 0 | 2.43 | 10.96 | 9.66 | 12.68
Energy
Capacity
Ancillary services
2014
2015
2016
Notes: Notes: a = SPP, b = ERCOT, c = MISO Average, d = CAISO, e = PJM Average, f = ISO-NE Hub, g = NYISO Average
Source: ERCOT state of the energy market reports 2015 and 2016

## Slide 16
1. Governments implement the Finkel blueprint
Resolve emissions reduction mechanism for the electricity sector
No
4. AEMO and the ESB monitor the market
Have the criteria for intervention been met?
Yes
No further action required
No
No
3. ESB begins preliminary work on a retailer capacity obligation
Is there a model that works with the NEM?
Yes
Yes
Introduce preferred capacity mechanism
Consider another capacity mechanism instead
2. AEMO implements a new resource adequacy monitoring system
Yes
Ongoing
Now
Notes: Flow chart of recommendations

## Slide 17
Chart: 
| Private | Government | Subsidised
Coal | 1241 | 744 | 0
Join venture | 0 | 1343 | 0
Gas | 3588 | 1901 | 0
QGS | 1970 | 0 | 0
Wind | 0 | 0 | 3781
Solar | 0 | 0 | 287
Coal joint venture
Coal
Gas
43%
Wind
Solar
(5% other)
26%
26%
Qld Gas Scheme
Notes: New public and private investment in coal, gas and wind since the NEM began (1999-2016)
Units: Gigawatts
Notes: Coal, gas, wind and solar represent 95% of large-scale generation investment in the NEM since 1998. The other 5% includes hydro, landfill gas, diesel among other things. Joint ventures (50/50 public/private) are included in the government column (1.3 GW); Wind projects are subsidised through the RET;
Source: Pieced together from AER data of new investment over time by fuel type, AEMO generation information and Simshauser 2008.
See AER Fig 1.16 KG edits.xlsx